## survey
type | name | label | hint | constraint | constraint_message | required | required_message | appearance | default | readonly | relevant | calculation | choice_filter | repeat_count | label::language1 | hint::language1 | media::audio | media::image | body::accuracyThreshold | bind::esri:fieldType | bind::esri:fieldLength | bind::esri:fieldAlias | body::esri:inputMask | bind::esri:parameters | bind::saveIncomplete | bind::type | bind::esri:warning | bind::esri:warning_message
note | checklist_objective | Inspections conducted during construction activities should verify proper installation and maintenance of permanent best management practices (BMPs).
begin group | project_info | Project Information | [5 empty] | compact
text | project_name | Project Name
text | project_no | Project/Permit Number
text | project_location | Location
geopoint | project_location_pt | Coordinate Point
end group
begin group | owner_info | Property Owner Information | [5 empty] | compact
text | owner_name | Owner Name
text | owner_phone | Owner Phone Number
text | owner_email | Owner Email Address
end group
begin group | inspect_info | Inspection Information | [5 empty] | compact
text | inspect_name | Inspector Name
date | inspect_date | Date of Inspection
time | inspect_time | Time of Inspection
select_multiple inspection_condition | inspect_condition | Is the inspection occuring: | Select all that apply
end group
begin group | contractor_info | Contractor Information | [5 empty] | compact
text | contractor_name | Contractor Name
text | lead_name | Lead Contact Name
text | lead_phone | Lead Phone Number
text | lead_email | Lead Email Address
end group
begin group | cescl | Certified Erosion and Sediment Control Lead (CESCL) | [5 empty] | compact
text | cescl_name | CESCL Name
text | cescl_cert_date | CESCL Certification Expiration Date
text | cescl_phone | CESCL Phone Number
text | cescl_email | CESCL Email Address
end group
begin group | documentation | Documentation | [5 empty] | compact
select_one satisfactory | documents | Does the Contractor have appropriate documentation onsite or within reasonable access to the site?
select_multiple document_list | document_list | Confirm availability of documentation: | Select all that apply
text | documents_other | Other:
end group
begin group | protect_bmps | Element 13: Protection of Permanent Stormwater BMPs/Facilities
select_one satisfactory | element_13a | Are LID BMPs (infiltration and dispersion) clearly marked and in good condition?
note | element_13a_BMPs | BMP examples include: flagging, high visibility fence, silt fence
select_one satisfactory | element_13b | Have LID BMPs (infiltration and dispersion) been protected from siltation and compaction?
note | element_13b_BMPs | BMP examples include: construction sequencing
select_one satisfactory | element_13c | Were precautions taken in the choice of excavation equipment?
note | element_13c_BMPs | BMP examples include: lightweight, low ground-contact pressure equipment; machinery (e.g., backhoe/excavator); only operated outside permanent BMP (except for permeable pavement)
select_one satisfactory | element_13d | Are protective surfaces placed over any permeable pavement areas used for construction staging?
note | element_13d_BMPs | BMP examples include: waterproof tarps, steel plates
select_one satisfactory | element_13e | Have proper soil amendments been provided in planting and turf/lawn areas?
note | element_13e_BMPs | For BMP examples, see Post Construction Soil Quality and Depth BMP in the Stormwater Management Manual for Western Washington
select_one satisfactory | element_13f | Has appropriate vegetation and mulch been installed?
note | element_13f_BMPs | BMP examples include: Site is permanently stabilized
text | element_13_notes | Notes and Corrective Action(s) | Include location, requested action, and proposed deadline
image | element_13_photo | Photo
end group
begin group | bioretention_group | Bioretention/Rain Gardens Installation
select_one satisfactory | item_b1_bsm | Are curb and gutters blocked during bioretention soil media (BSM) installation?
note | item_b1_bsm_BMPs | BMPs/ Specifications: block and gravel barrier, sandbag berm, rock berm
select_one satisfactory | item_b1_mulch | Are curb and gutters blocked during mulch installation?
note | item_b1_mulch_BMPs | BMPs/ Specifications: block and gravel barrier, sandbag berm, rock berm
select_one satisfactory | item_b1_planting | Are curb and gutters blocked during planting activities?
note | item_b1_planting_BMPs | BMPs/ Specifications: block and gravel barrier, sandbag berm, rock berm
select_one satisfactory | item_b2 | Did appropriate actions occur following excavation and prior to BSM placement?
note | item_b2_BMPs | BMPs/ Specifications: sediment deposits removed, subgrade raked/ scarified to ≥ 3 inches
select_one satisfactory | item_b3 | Was the underdrain installed correctly?
note | item_b3_BMPs | BMPs/ Specifications: pipe meets design specs, aggregate meets design specs, not wrapped in geotextile fabric
select_one satisfactory | item_b4 | Was the BSM installed correctly?
note | item_b4_BMPs | BMPs/ Specifications: meets design specs, less than 6 inches per layer, compacted to 85% of maximum dry density
select_one satisfactory | item_b5 | Did appropriate actions occur following BSM installation and prior to planting?
note | item_b5_BMPs | BMPs/ Specifications: compaction inspected, BSM/ rain garden soil aerated prior to planting if compaction is observed
select_one satisfactory | item_b6 | Was the BSM installed at the proper grade and the required ponding depth provided below the overflow?
note | item_b6_BMPs | BMPs/ Specifications: cell is not overfilled with mulch and BSM, required ponding depth is provided
text | bioretention_notes | Notes and Corrective Action(s) | Include location, requested action, and proposed deadline
image | bioretention_photo | Photo
end group
begin group | permeable_group | Permeable Pavement Installation
select_one satisfactory | item_p1 | Did appropriate actions occur following excavation and prior to aggregate base placement?
note | item_p1_BMPs | BMPs/ Specifications: sediment deposits removed, subgrade raked/scarified to ≥ 3 inches
select_one satisfactory | item_p2 | Was the subgrade properly prepared and protected?
note | item_p2_BMPs | BMPs/ Specifications: planned construction sequencing followed, subgrade inspected and approved prior to placement of base materials, subgrade inspected and approved prior to placement of base materials, subgrade not used for construction access or staging
select_one satisfactory | item_p3 | Was the impermeable liner installed correctly?
note | item_p3_BMPs | BMPs/ Specifications: Liner meets design specs , no tears, ≥ 2 inches of slack where liner is mechanically fastened, Attached to perimeter wall after backfilling, liner properly bedded to avoid punctures
select_one satisfactory | item_p4 | Was the subsurface overflow installed correctly?
note | item_p4_BMPs | BMPs/ Specifications: pipe meets design specs, aggregate meets design specs, not wrapped in geotextile fabric
select_one satisfactory | item_p5 | Was the cleanout installed correctly?
note | item_p5_BMPs | BMPs/ Specifications: cleanout meets design specs, covers are installed and watertight
select_one satisfactory | item_p6 | Was the orifice installed correctly?
note | item_p6_BMPs | BMPs/ Specifications: orifice plate installed in the appropriate location per design specs
select_one satisfactory | item_p7 | Did appropriate actions occur following excavation and prior to aggregate base placement?
note | item_p7_BMPs | BMPs/ Specifications: base materials protected from contamination, contaminated material replaced, aggregate materials meet design specs
select_one satisfactory | item_p8 | Was the water quality treatment course (optional layer) installed correctly?
note | item_p8_BMPs | BMPs/ Specifications: compaction within the appropriate range
select_one satisfactory | item_p9 | Did appropriate actions occur prior to wearing course placement?
note | item_p9_BMPs | BMPs/ Specifications: materials and admixtures protected from contamination, materials protected from damage by equipment, vehicles, and/or weather
select_one satisfactory | item_p10 | Was the porous asphalt installed correctly?
note | item_p10_BMPs | BMPs/ Specifications: delivered asphalt meets design specs for binder and gradation (verify load tickets), no deviation from design line and grade, uniform surface texture, at least one inspection occurs during installation of porous asphalt
select_one satisfactory | item_p11 | Was the pervious concrete installed correctly?
note | item_p11_BMPs | BMPs/ Specifications: number and type of National Ready Mixed Concrete Association (NRMCA) certified personnel meets design specs, test panel meets design specs, conformance to job mix formula (verify load tickets, plastic unit weight), no deviation from design line and grade, Uniform surface texture (no raveling, no areas of smeared paste, free of ridges/cracks), at least one inspection occurs during installation of pervious concrete
select_one satisfactory | item_p12 | Were the permeable pavers and/or grass/gravel pave installed correctly?
note | item_p12_BMPs | BMPs/ Specifications: meets design specs
select_one satisfactory | item_p13 | Did appropriate actions occur once the pavement was finished and set?
note | item_p13_BMPs | BMPs/ Specifications: pavement covered with plastic to facilitate proper curing; covered with geotextile, steel plates, etc. to protect from other construction activities
text | permeable_notes | Notes and Corrective Action(s) | Include location, requested action, and proposed deadline
image | permeable_photo | Photo
end group
text | other_notes | Other Notes/Comments
select_one summary_yes_no | summary_actions | Summary of Corrective Actions:

## choices
list_name | name | label | image | label::language1
satisfactory | yes | Yes
satisfactory | action_required | Action required
satisfactory | na | N/A
project_id | example_id | Example Project ID
show_hide | show | Show
show_hide | hide | Hide
inspection_condition | after_holiday | After a holiday?
inspection_condition | monday_morning | On a Monday morning?
inspection_condition | friday_afternoon | On a Friday afternoon?
inspection_condition | before_storm | Before a predicted storm?
inspection_condition | during_storm | During a storm?
inspection_condition | after_storm | After a storm? (<24 hours)
bmps | bioretention | Bioretention/Rain Gardens
bmps | permeable_pavement | Permeable Pavement
bmps_5a | seeding | Seeding
bmps_5a | mulching | Mulching
bmps_5a | nets_blankets | Nets and blankets
bmps_5a | plastic_cover | Plastic covering
bmps_5b | dust_suppression | Dust suppression (water, palliative, PAM)
bmps_5b | windbreaks | Windbreaks/windscreens
bmps_5b | planting_mulching | Planting/mulching
bmps_5b | paving_gravel | Paving/gravel
bmps_5b | ground_cover | Maintain ground cover
bmps_5b | street_sweeping | Street sweeping
document_list | site_plan | Site Map/Plan
document_list | construction_swppp | Construction SWPPP
document_list | veg_plan | Soil and Vegetation Monitoring Plan
document_list | esc_plan | ESC Plan
document_list | daily_log | Daily Log
document_list | DMRs | Discharge Monitoring Reports (DMRs)
document_list | Other | Other
WQ_yes_no | yes | Yes
WQ_yes_no | no | No
summary_yes_no | yes | Corrective action(s) ARE required
summary_yes_no | no | Corrective action(s) are NOT required
turbidity_method | tube | Tube
turbidity_method | meter | Meter
turbidity_method | laboratory | Laboratory
turbidity_method | other | Other
calibration | yes | Yes
calibration | no | No
calibration | na | N/A
turbidity_units | ntu | NTU
turbidity_units | cm | centimeters transparency
turbidity_units | na | N/A
pH_method | test_strip | Paper/ test strip
pH_method | kit | Kit
pH_method | meter | Meter

## settings
form_title | form_id | instance_name | submission_url | default_language | version | style
Checklist 4 Construction of Permanent BMPs

## types
Field Types
integer | Integer (i.e., whole number) input.
decimal | Decimal input. |  | This XLS has a few rules to help you author XLSForms
text | Free text response. |  | The Type colum is restricted to the types supported by Survey123
select_one [list_name] | Multiple choice question; only one answer can be selected. Edit to reference the correct list name. Ignore any warnings after changing values. |  | The name column will invalidate cells with repeated values or strings with spaces
select_multiple [list_name] | Multiple choice question; multiple answers can be selected. Edit to reference the correct list name. Ignore any warnings after changing values. |  | You are still on your own, learn XLSForm syntax here http://xlsform.org
note | Display a note on the screen, takes no input. |  | But these few rules can help you a bit
geopoint | Collect a single GPS coordinates.
date | Date input.
time | Time input.
dateTime | Date and time input.
image | Takes a picture.
begin group | Begin a group of questions.
end group | End a group of questions.
begin repeat | Begin a set of repeating questions.
end repeat | End a set of repeating questions.
calculate | Performs a calculation on values in the form. The calculate field will contain the outcome of the calculation. This is a hidden field, not visible on the form.
username | When signed into ArcGIS Online, this field is automatically populated with the account username.
email | When signed into ArcGIS Online, this field is automatically populated with the account email address.
hidden | This will create a field in your feature service that will not be displayed on the form. Use the bind::esri:fieldType and bind::esri:fieldLength columns to specify the data schema for this field.
barcode | Scan a barcode or a QR code.
start | Start date and time of the survey.
end | End date and time of the survey.
audio | Records an audio sample.
Required
Leave blank if field is not required.
yes | Select yes for field to always be required. Alternatively, write an XLSForm expression
Read Only
Leave blank if field is not read-only
yes | Select yes for field to always be read-only. Alternatively, write an XLSForm expression
Appearance
signature | Applies to image fields. Presents a UI for signature capture. The signature will be added to the feature as an attachment.
draw | Applies to image fields. Allows user to open a canvas window to sketch on.
annotate | Applies to image fields. Allows user to open a canvas window to sketch on. Also supports annotation on images.
minimal | Applies to select_one, select_multiple, and barcode fields, as well as repeats. Presents answers in a more space-efficient manner.
multiline | Applies to text fields. Will make the text box multiple lines long.
predictivetext | Applies to text fields. Enables predictive text for mobile devices.
nopredictivetext | Applies to text fields. Disables predictive text for mobile devices.
likert | Applies to select_one. Makes the answer choices appear as a Likert scale.
month-year | Applies to date fields. Select a month and year only for the date.
year | Applies to date fields. Select only a year for the date.
week-number | Applies to date fields. Select a week number.
distress | Applies to integer. A highly specific widget to measure distress.
calculator | Applies to integer and decimal fields. Displays a custom calculator widget.
numbers | Applies to integer and decimal fields. Displays a custom keyboard.
spike | Requires a Spike device and Spike app, applies to image fields. Uses Spike integration to measure distance and location in a photo.
spike-full-measure | Requires a Spike device and Spike app, applies to image fields. Uses Spike integration to measure distance, location, area and lengths in a photo.
spinner | Applies to integer and decimal fields. Adds buttons to increase and decrease value.
horizontal | Applies to select_one and select_multiple fields. Displays answer choices horizontally, but in columns.
horizontal-compact | Applies to select_one and select_multiple fields. Displays answer choices horizontally.
autocomplete | Applies to select_one fields. Answer choices appear in a pull-down menu, with text input to narrow down options.
compact | Applies to groups and repeats. Group of questions will appear collapsed on startup.
minimal compact | Applies to repeats. Group of questions is displayed both collapsed and hidden.
field-list | Applies to groups and repeats, when style is set to pages. Displays group of questions on a separate page.
hide-input | Applies to geopoint fields. Collapses the coordinate entry section of the widget in web form.
Default Values
today() | Set the default date to today's date, at midnight. Applies to date questions.
now() | Sets the default value to the current date and time. Applies to time and dateTime questions.
item1,item2,item3 | Use a comma separated list to set default values for select_multiple fields.
Cascading Selects | Create additional attribute columns for your pick lists in the choices tab.
Add an expression to the choices_filter column to restrict subsequent pick lists using these attributes.
Formula Operators | These operators can be used in constraint, relevant and calculation fields
Operator | Description | Example
¦ | Computes two node-sets | //book ¦ //cd
+ | Addition | 6 + 4
- | Subtraction | 6 - 4
* | Multiplication | 6 * 4
div | Division | 8 div 4
= | Equal | price=9.80
!= | Not equal | price!=9.80
< | Less than | price<9.80
<= | Less than or equal to | price<=9.80
> | Greater than | price>9.80
>= | Greater than or equal to | price>=9.80
or | or | price=9.80 or price=9.70
and | and | price>9.00 and price<9.90
mod | Modulus (division remainder) | 5 mod 2
HTML Formatting
Format Type | Example
FontColor | <font color="red">Text in red </font>
Hyperlink | <a href="http://www.esri.com">Link to esri web site</a>
Bold | <b>This text is bold</b>
Italics | <i>This text is in italics</i>
H1 | <H1>Header 1</H>
H2 | <H2>Header 2</H>
CENTER | <center>This text is centered</center>
blockquote | <blockquote>Blockquote (indented)</blockquote>
Underlined | One word is <u>underlined</u>
Typewrite | One word is <tt>typewrite</tt> font
Strikethrough | One word is <s>strikethrough</s> font
Unordered list | <ul>To frame an unordered list,</ul> <li>and for individual points</li>
Regular Expressions
Subexpression | Matches
^ | Matches beginning of line.
$ | Matches end of line.
. | Matches any single character except newline. Using m option allows it to match newline as well.
[...] | Matches any single character in brackets.
[^...] | Matches any single character not in brackets
\A | Beginning of entire string
\z | End of entire string
\Z | End of entire string except allowable final line terminator.
re* | Matches 0 or more occurrences of preceding expression.
re+ | Matches 1 or more of the previous thing
re? | Matches 0 or 1 occurrence of preceding expression.
re{ n} | Matches exactly n number of occurrences of preceding expression.
re{ n,} | Matches n or more occurrences of preceding expression.
re{ n, m} | Matches at least n and at most m occurrences of preceding expression.
a¦ b | Matches either a or b.
(re) | Groups regular expressions and remembers matched text.
(?: re) | Groups regular expressions without remembering matched text.
(?> re) | Matches independent pattern without backtracking.
\w | Matches word characters.
\W | Matches nonword characters.
\s | Matches whitespace. Equivalent to [\t\n\r\f].
\S | Matches nonwhitespace.
\d | Matches digits. Equivalent to [0-9].
\D | Matches nondigits.
\A | Matches beginning of string.
\Z | Matches end of string. If a newline exists, it matches just before newline.
\z | Matches end of string.
\G | Matches point where last match finished.
\n | Back-reference to capture group number "n"
\b | Matches word boundaries when outside brackets. Matches backspace (0x08) when inside brackets.
\B | Matches nonword boundaries.
\n, \t, etc. | Matches newlines, carriage returns, tabs, etc.
\Q | Escape (quote) all characters up to \E
\E | Ends quoting begun with \Q
Esri Field Type
esriFieldTypeDate | Date
esriFieldTypeSingle | Single-precision floating point numbers
esriFieldTypeDouble | Double-precision floating point numbers
esriFieldTypeInteger | Whole numbers
esriFieldTypeSmallInteger | Small whole numbers (from -32,768 to 32,767)
esriFieldTypeString | A series of alphanumeric symbols
esriFieldTypePointZ | Adds Z axis support to geopoint question
esriFieldTypeGUID | Globally Unique Identifier
null | Does not require field in feature service.
Mathematical Functions
Operator | Function
pi() | Returns pi.
acos(value) | Returns the arccosine of the value.
asin(value) | Returns the arcsine of the value.
atan(value) | Returns the arctangent of the value.
cos(value) | Returns the cosine of the value
sin(value) | Returns the sine of the value.
tan(value) | Returns the tangent of the value as degrees in an angle.
exp(value) | Returns the natural exponent of the value.
exp10(value) | Returns ten to the power of the value.
log(value) | Returns the natural logarithm of the value.
log10(value) | Returns the base-ten logarithm of the value.
sqrt(value) | Returns the square root of the value.
min(value1,value2) | Returns the minimum value in the given range.
max(value1,value2) | Returns the maximum value in the given range.
random | Returns a random value between 0 (inclusive) and 1 (exclusive).
atan2(value1,value2) | Returns the arctangent of the quotient of the values.
round(value1,value2) | Returns the rounded value.
pow(value,power) | Returns the value to the power specified.
Special Characters | The following characters can't be used in the name field of a question, or in the name field of the choices page.
Space
, | Comma
; | Semicolon
- | Hyphen
/ | Forward slash
$ | Dollar sign
. | Dot
( | Open parentheses
) | Close parentheses
Field Type | Values used by the bind::type column to overwrite default field type
int | Single-precision floating point numbers
decimal | Double-precision floating point numbers
string | A series of alphanumeric symbols
time | Time value
dateTime | Date and time value
date | Date value
Reserved Keywords | The following database keywords can not be used in the name field of a question
ENTITY
ADD
ALL
ALTER
AND
ANY
AS
ASC
AUTHORIZATION
BACKUP
BEGIN
BETWEEN
BREAK
BROWSE
BULK
BY
CASCADE
CASE
CHECK
CHECKPOINT
CLOSE
CLUSTERED
COALESCE
COLLATE
COLUMN
COMMIT
COMPUTE
CONSTRAINT
CONTAINS
CONTAINSTABLE
CONTINUE
CONVERT
CREATE
CROSS
CURRENT
CURRENT_DATE
CURRENT_TIME
CURRENT_TIMESTAMP
CURRENT_USER
CURSOR
DATABASE
DBCC
DEALLOCATE
DECLARE
DEFAULT
DELETE
DENY
DESC
DISK
DISTINCT
DISTRIBUTED
DOUBLE
DROP
DUMP
ELSE
END
ERRLVL
ESCAPE
EXCEPT
EXEC
EXECUTE
EXISTS
EXIT
EXTERNAL
FETCH
FILE
FILLFACTOR
FOR
FOREIGN
FREETEXT
FREETEXTTABLE
FROM
FULL
FUNCTION
GOTO
GRANT
GROUP
HAVING
HOLDLOCK
IDENTITY
IDENTITY_INSERT
IDENTITYCOL
IF
IN
INDEX
INNER
INSERT
INTERSECT
INTO
IS
JOIN
KEY
KILL
LEFT
LIKE
LINENO
LOAD
MERGE
NATIONAL
NOCHECK
NONCLUSTERED
NOT
NULL
NULLIF
OF
OFF
OFFSETS
ON
OPEN
OPENDATASOURCE
OPENQUERY
OPENROWSET
OPENXML
OPTION
OR
ORDER
OUTER
OVER
PERCENT
PIVOT
PLAN
PRECISION
PRIMARY
PRINT
PROC
PROCEDURE
PUBLIC
RAISERROR
READ
READTEXT
RECONFIGURE
REFERENCES
REPLICATION
RESTORE
RESTRICT
RETURN
REVERT
REVOKE
RIGHT
ROLLBACK
ROWCOUNT
ROWGUIDCOL
RULE
SAVE
SCHEMA
SECURITYAUDIT
SELECT
SEMANTICKEYPHRASETABLE
SEMANTICSIMILARITYDETAILSTABLE
SEMANTICSIMILARITYTABLE
SESSION_USER
SET
SETUSER
SHUTDOWN
SOME
STATISTICS
SYSTEM_USER
TABLE
TABLESAMPLE
TEXTSIZE
THEN
TO
TOP
TRAN
TRANSACTION
TRIGGER
TRUNCATE
TRY_CONVERT
TSEQUAL
UNION
UNIQUE
UNPIVOT
UPDATE
UPDATETEXT
USE
USER
VALUES
VARYING
VIEW
WAITFOR
WHEN
WHERE
WHILE
WITH
WITHIN GROUP
WRITETEXT
A
ABS
ABSENT
ACCORDING
ADA
ALLOCATE
ANALYSE
ANALYZE
ARE
ARRAY
ARRAY_AGG
ARRAY_MAX_CARDINALITY
ASENSITIVE
ASYMMETRIC
ATOMIC
ATTRIBUTES
AVG
BASE64
BEGIN_FRAME
BEGIN_PARTITION
BERNOULLI
BINARY
BIT_LENGTH
BLOB
BLOCKED
BOM
BOTH
BREADTH
C
CALL
CARDINALITY
CAST
CATALOG_NAME
CEIL
CEILING
CHARACTERS
CHARACTER_LENGTH
CHARACTER_SET_CATALOG
CHARACTER_SET_NAME
CHARACTER_SET_SCHEMA
CHAR_LENGTH
CLASS_ORIGIN
CLOB
COBOL
COLLATION
COLLATION_CATALOG
COLLATION_NAME
COLLATION_SCHEMA
COLLECT
COLUMNS
COLUMN_NAME
COMMAND_FUNCTION
COMMAND_FUNCTION_CODE
CONCURRENTLY
CONDITION
CONDITION_NUMBER
CONNECT
CONNECTION_NAME
CONSTRAINT_CATALOG
CONSTRAINT_NAME
CONSTRAINT_SCHEMA
CONSTRUCTOR
CONTROL
CORR
CORRESPONDING
COUNT
COVAR_POP
COVAR_SAMP
CREATIONDATE
CREATOR
CUBE
CUME_DIST
CURRENT_CATALOG
CURRENT_DEFAULT_TRANSFORM_GROUP
CURRENT_PATH
CURRENT_ROLE
CURRENT_ROW
CURRENT_SCHEMA
CURRENT_TRANSFORM_GROUP_FOR_TYPE
CURSOR_NAME
DATALINK
DATE
DATETIME_INTERVAL_CODE
DATETIME_INTERVAL_PRECISION
DB
DEFERRABLE
DEFINED
DEGREE
DENSE_RANK
DEPTH
DEREF
DERIVED
DESCRIBE
DESCRIPTOR
DETERMINISTIC
DIAGNOSTICS
DISCONNECT
DISPATCH
DLNEWCOPY
DLPREVIOUSCOPY
DLURLCOMPLETE
DLURLCOMPLETEONLY
DLURLCOMPLETEWRITE
DLURLPATH
DLURLPATHONLY
DLURLPATHWRITE
DLURLSCHEME
DLURLSERVER
DLVALUE
DO
DYNAMIC
DYNAMIC_FUNCTION
DYNAMIC_FUNCTION_CODE
EDITDATE
EDITOR
ELEMENT
EMPTY
END-EXEC
END_FRAME
END_PARTITION
ENFORCED
EQUALS
EVERY
EXCEPTION
EXP
EXPRESSION
FALSE
FILTER
FINAL
FIRST_VALUE
FLAG
FLOOR
FORTRAN
FOUND
FRAME_ROW
FREE
FREEZE
FS
FUSION
G
GENERAL
GENERATED
GET
GLOBALID
GO
GROUPING
GROUPS
HEX
HIERARCHY
ID
IGNORE
ILIKE
IMMEDIATELY
IMPLEMENTATION
IMPORT
INDENT
INDICATOR
INITIALLY
INSTANCE
INSTANTIABLE
INTEGRITY
INTERSECTION
ISNULL
K
KEY_MEMBER
KEY_TYPE
LAG
LAST_VALUE
LATERAL
LEAD
LEADING
LENGTH
LIBRARY
LIKE_REGEX
LIMIT
LINK
LN
LOCALTIME
LOCALTIMESTAMP
LOCATOR
LOWER
M
MAP
MATCHED
MAX
MAX_CARDINALITY
MEMBER
MESSAGE_LENGTH
MESSAGE_OCTET_LENGTH
MESSAGE_TEXT
METHOD
MIN
MOD
MODIFIES
MODULE
MORE
MULTISET
MUMPS
NAMESPACE
NATURAL
NCLOB
NESTING
NEW
NFC
NFD
NFKC
NFKD
NIL
NORMALIZE
NORMALIZED
NOTNULL
NTH_VALUE
NTILE
NULLABLE
NUMBER
OBJECTID
OCCURRENCES_REGEX
OCTETS
OCTET_LENGTH
OFFSET
OLD
ONLY
ORDERING
ORDINALITY
OTHERS
OUTPUT
OVERLAPS
OVERRIDING
P
PAD
PARAMETER
PARAMETER_MODE
PARAMETER_NAME
PARAMETER_ORDINAL_POSITION
PARAMETER_SPECIFIC_CATALOG
PARAMETER_SPECIFIC_NAME
PARAMETER_SPECIFIC_SCHEMA
PASCAL
PASSTHROUGH
PATH
PERCENTILE_CONT
PERCENTILE_DISC
PERCENT_RANK
PERIOD
PERMISSION
PLACING
PLI
PORTION
POSITION_REGEX
POWER
PRECEDES
RANK
READS
RECOVERY
REFERENCING
REGR_AVGX
REGR_AVGY
REGR_COUNT
REGR_INTERCEPT
REGR_R2
REGR_SLOPE
REGR_SXX
REGR_SXY
REGR_SYY
REQUIRING
RESPECT
RESULT
RETURNED_CARDINALITY
RETURNED_LENGTH
RETURNED_OCTET_LENGTH
RETURNED_SQLSTATE
RETURNING
ROLLUP
ROUTINE
ROUTINE_CATALOG
ROUTINE_NAME
ROUTINE_SCHEMA
ROW_COUNT
ROW_NUMBER
SCALE
SCHEMA_NAME
SCOPE
SCOPE_CATALOG
SCOPE_NAME
SCOPE_SCHEMA
SECTION
SELECTIVE
SELF
SENSITIVE
SERVER_NAME
SETS
SIMILAR
SIZE
SOURCE
SPACE
SPECIFIC
SPECIFICTYPE
SPECIFIC_NAME
SQL
SQLCODE
SQLERROR
SQLEXCEPTION
SQLSTATE
SQLWARNING
SQRT
STATE
STATIC
STDDEV_POP
STDDEV_SAMP
STRUCTURE
STYLE
SUBCLASS_ORIGIN
SUBMULTISET
SUBSTRING_REGEX
SUCCEEDS
SUM
SYMMETRIC
SYSTEM_TIME
T
TABLE_NAME
TIES
TIMEZONE_HOUR
TIMEZONE_MINUTE
TOKEN
TOP_LEVEL_COUNT
TRAILING
TRANSACTIONS_COMMITTED
TRANSACTIONS_ROLLED_BACK
TRANSACTION_ACTIVE
TRANSFORM
TRANSFORMS
TRANSLATE
TRANSLATE_REGEX
TRANSLATION
TRIGGER_CATALOG
TRIGGER_NAME
TRIGGER_SCHEMA
TRIM_ARRAY
TRUE
UESCAPE
UNDER
UNLINK
UNNAMED
UNNEST
UNTYPED
UPPER
URI
USAGE
USER_DEFINED_TYPE_CATALOG
USER_DEFINED_TYPE_CODE
USER_DEFINED_TYPE_NAME
USER_DEFINED_TYPE_SCHEMA
USING
VALUE_OF
VARBINARY
VARIADIC
VAR_POP
VAR_SAMP
VERBOSE
VERSIONING
WHENEVER
WIDTH_BUCKET
WINDOW
WITHIN
XMLAGG
XMLBINARY
XMLCAST
XMLCOMMENT
XMLDECLARATION
XMLDOCUMENT
XMLITERATE
XMLNAMESPACES
XMLQUERY
XMLSCHEMA
XMLTABLE
XMLTEXT
XMLVALIDATE
ACCESS
AFTER
ARCHIVELOG
AUTHENTICATED
AUTOMATIC
BEFORE
BFILE
BLOCK
CACHE
CHAINED
CHAR_CS
CLEAR
COMMENT
COMPATIBILITY
COMPOSITE_LIMIT
CONSTRAINTS
CONTROLFILE
CPU_PER_CALL
DANGLING
DATAFILES
DBA
DBMAC
DEC
ENFORCE
EXCLUDING
EXTENT
FAILED_LOGIN_ATTEMPTS
FLOAT
FREELIST
GLOBALLY
HASHKEYS
HEAP
IDLE_TIME
INT
ISOLATION
LAYER
LOCAL
LOG
LOGICAL_READS_PER_CALL
MANAGE
MAXARCHLOGS
MAXINSTANCES
MAXLOGMEMBERS
MAXVALUE
MINIMUM
MINVALUE
MODE
MOVE
NETWORK
NOARCHIVELOG
NOCOMPRESS
NOLOGGING
NONE
NOPARALLEL
NORMAL
NOTHING
OBJECT
OID
OPCODE
OPTIMIZER_GOAL
OVERFLOW
PARALLEL
PASSWORD_GRACE_TIME
PASSWORD_REUSE_MAX
PCTFREE
PCTUSED
PERMANENT
POST_TRANSACTION
PRIVATE_SGA
PURGE
RANGE
REBUILD
REPLACE
RESIZE
REVERSE
ROLES
ROWID
SB4
SCN
SD_INHIBIT
SEG_BLOCK
SEQUENCE
SESSION_CACHED_CURSORS
SHARE
SHRINK
SKIP_UNUSABLE_INDEXES
SPLIT
START
STOP
SYS_OP_ENFORCE_NOT_NULL$
SYSDATE
SYSTEM
TABLESPACE
TEMPORARY
TIME
TRACE
TRANSITIONAL
TYPE
UID
UNLOCK
UNUSABLE
VALIDATION
VARCHAR
WORK
WRITEUP
ZONE
ACCOUNT
ADMIN
AT
BITMAP
BODY
CACHE_INSTANCES
CHANGE
CHARACTER
CHOOSE
CLOSE_CACHED_OPEN_CURSORS
COMPILE
COMPRESS
CONNECT_TIME
CONTENTS
CPU_PER_SESSION
CYCLE
DATAOBJNO
DBHIGH
DECIMAL
DIRECTORY
DISMOUNT
DML
ENABLE
ENTRY
EXCEPTIONS
EXCLUSIVE
EXPIRE
EXTENTS
FIRST_ROWS
FLOB
FORCE
FREELISTS
GLOBAL_NAME
IDENTIFIED
INCLUDING
INDEXED
IND_PARTITION
INITRANS
INSTANCES
INTEGER
ISOLATION_LEVEL
LESS
LIST
LOCK
LOGFILE
LOGICAL_READS_PER_SESSION
MASTER
MAXDATAFILES
MAXLOGFILES
MAXSIZE
MINEXTENTS
MLSLABEL
MODIFY
MTS_DISPATCHERS
NCHAR
NEEDED
NOAUDIT
NOCYCLE
NOMAXVALUE
NOORDER
NOSORT
NOWAIT
NUMERIC
OBJNO
OIDINDEX
ONLINE
ORGANIZATION
OWN
PARTITION
PASSWORD_LIFE_TIME
PASSWORD_REUSE_TIME
PCTINCREASE
PCTVERSION
PRIOR
PRIVILEGE
PROFILE
QUEUE
RAW
READUP
RECOVER
REF
REFRESH
RESET
RESOURCE
ROWNUM
SAMPLE
SCAN_INSTANCES
SD_SHOW
SEG_FILE
SERIALIZABLE
SESSIONS_PER_USER
SHARED
SMALLINT
SORT
SQL_TRACE
STATEMENT_ID
STORAGE
SUCCESSFUL
SYS_OP_NTCIMG$
SYSDBA
TABLESPACE_NO
THAN
THREAD
TRACING
UB2
UNARCHIVED
UNRECOVERABLE
UNUSED
VALUE
VARCHAR2
WRITE
XID
ACTIVATE
ADVISE
ALL_ROWS
ARCHIVE
AUDIT
AUTOEXTEND
BECOME
CANCEL
CFILE
CHAR
CHUNK
CLONE
CLUSTER
COMMITTED
COMPLETE
COST
CURREN_USER
DATAFILE
DBLOW
DEBUG
DEFERRED
DISABLE
EACH
EXCHANGE
EXPLAIN
EXTERNALLY
FAST
FLAGGER
FLUSH
GLOBAL
HASH
HEADER
IDGENERATORS
IMMEDIATE
INCREMENT
INDEXES
INITIAL
INSTEAD
INTERMEDIATE
KEEP
LABEL
LEVEL
LOB
LOCKED
LOGGING
LONG
MAXEXTENTS
MAXLOGHISTORY
MAXTRANS
MINUS
MLS_LABEL_FORMAT
MOUNT
NCHAR_CS
NESTED
NEXT
NOCACHE
NOFORCE
NOMINVALUE
NOOVERRIDE
NOREVERSE
NVARCHAR2
OBJNO_REUSE
OFFLINE
OPTIMAL
OSLABEL
PACKAGE
PASSWORD
PASSWORD_LOCK_TIME
PASSWORD_VERIFY_FUNCTION
PCTTHRESHOLD
PLSQL_DEBUG
PRESERVE
PRIVATE
PRIVILEGES
QUOTA
RBA
REAL
RECOVERABLE
RENAME
RESETLOGS
RESTRICTED
REUSE
ROLE
ROW
ROWS
SAVEPOINT
SD_ALL
SEGMENT
SESSION
SHARED_POOL
SKIP
SNAPSHOT
SPECIFICATION
STANDBY
STORE
SWITCH
SYNONYM
SYSOPER
TABLES
TABNO
THE
TIMESTAMP
TOPLEVEL
TRIGGERS
TX
UBA
UNDO
UNLIMITED
UNTIL
UPDATABLE
VALIDATE
WITHOUT
WRITEDOWN
YEAR
ALLOW
BUFFERPOOL
CAPTURE
CASCADED
CCSID
DATA
DAY
DAYS
DBINFO
EDITPROC
ELSEIF
ENCODING
ENCRYPTION
FENCED
FIELDPROC
FIRST
HANDLER
HOLD
HOUR
HOURS
INCLUSIVE
JAR
LANGUAGE
LAST
LC_CTYPE
LEAVE
MAINTAINED
MATERIALIZED
MICROSECOND
MICROSECONDS
MINUTE
NEXTVAL
NO
OBID
OPTIMIZATION
PART
PADDED
PARTITIONED
PARTITIONING
QUERY
QUERYNO
RESIGNAL
RELEASE
REPEAT
SCRATCHPAD
SECOND
SECONDS
SECQTY
SECURITY
VALIDPROC
VARIABLE
VARIANT
WLM
XMLEXISTS
YEARS
RESULT_SET_LOCATOR
RETURNS
ROUND_CEILING
SIGNAL
SIMPLE
STANDARD
STATEMENT
STAY
VCAT
VOLATILE
VOLUMES
LOCALE
LOCATORS
MINUTES
MONTH
MONTHS
NULLS
NUMPARTS
OPTIMIZE
OUT
PIECESIZE
PREPARE
PREVVAL
INHERIT
INOUT
INSENSITIVE
ASSOCIATE
COLLECTION
COLLID
CONCAT
CONNECTION
CONTENT
DISALLOW
ENDING
ERASE
ASUTIME
AUX
AUXILIARY
CURRENT_LC_CTYPE
CURRVAL
DOCUMENT
DSSIZE
ISOBID
ITERATE
LOCKMAX
LOCKSIZE
LOOP
PRIQTY
PROGRAM
PSID
ROUND_DOWN
ROUND_FLOOR
ROUND_HALF_DOWN
ROUND_HALF_EVEN
ROUND_HALF_UP
ROUND_UP
ROWSET
RUN
STOGROUP
STORES
SUMMARY
SYSTIMESTAMP
CURRENT_CONNECTION
CURRENT_UTCTIMESTAMP
SYSTIME
UTCTIME
UTCTIMESTAMP
CURRENT_UTCDATE
SYSUUID
CURRENT_UTCTIME
ELSIF
UTCDATE
SHAPE